## Instructions
Laboratory & Workshop Safety – Monitoring Workbook
Companion to the Laboratory and Workshop Emergency SOP (Laboratory Safety section)
How to use
Yellow cells, blue text | Input cells – type or pick from the drop-down. Only edit these.
Grey cells | Auto-calculated formulas – do not overwrite.
Green / amber / red | Status highlighting applied automatically (Compliant / Due soon / Overdue etc.).
Sample data | Each register contains one example row and the checklists contain sample statuses so the Dashboard shows results. Overwrite or clear them before use.
Report date | Dashboard cell C5 defaults to TODAY(). Overwrite with a fixed date to report as of a past date.
Parameters | Risk-level thresholds and 'due soon' windows are on the Lists sheet (column N).
Sheets
Dashboard | SOP Section 17 performance indicators with targets and automatic status, plus incident summary chart.
Pre-Lab Checklist | SOP Section 4, Steps 3–4: safety preparation and briefing. Gives READY / NOT READY decision.
Risk Assessment | SOP Section 4, Step 2: Hazard → Likelihood → Impact → Risk Level → Control Measures, with residual risk.
Inspection Checklist | SOP Section 16 periodic inspection with Safety Compliance Rate (Section 17 formula).
Equipment Register | SOP Sections 6 & 18: equipment inspection register with next-due dates and defect tracking.
Emergency Equipment | SOP Section 11: emergency equipment test dates and readiness.
PPE Availability | SOP Section 5: PPE required vs available, by hazard.
Training Records | SOP Section 15: user training with expiry tracking.
Incident Log | SOP Section 14: incidents & near misses with corrective/preventive action (CAPA) tracking.
Emergency Drills | Drill plan and completion with occupant accountability (Section 10 D).
Lists | Drop-down sources and adjustable parameters.

## Dashboard
Laboratory Safety Performance Dashboard
SOP Section 17 – Performance indicators (auto-calculated from the registers)
| Laboratory / department | Electrical Machines Lab, Dept. of EEE
| Report date | 2026-10-03
# | Performance indicator | Basis of calculation | Actual | Target | Direction | Status
1 | Safety compliance rate (inspection) | Compliant ÷ assessed items – Inspection Checklist | 90.91% | 95% | Higher is better | Watch
2 | Pre-lab safety readiness rate | 'Yes' ÷ answered items – Pre-Lab Checklist | 93.33% | 100% | Higher is better | Watch
3 | Users with current safety training | Current ÷ training records | 100% | 95% | Higher is better | On target
4 | Equipment inspection completion rate | Current + due soon ÷ registered equipment | 100% | 100% | Higher is better | On target
5 | Emergency-drill completion rate | Completed ÷ drills due to date | 100% | 100% | Higher is better | On target
6 | Number of safety incidents | All logged events except near misses | 0 | 0 | Lower is better | On target
7 | Number of near misses reported | Near misses logged (higher = healthy reporting) | 1 | 1 | Higher is better | On target
8 | Corrective-action closure rate | Closed CAPAs ÷ logged events | 100% | 90% | Higher is better | On target
9 | PPE availability rate | Available ÷ required quantity – PPE Availability | 98.1% | 100% | Higher is better | Watch
10 | Emergency-equipment readiness rate | 'Ready' ÷ listed emergency equipment | 91.67% | 100% | Higher is better | Watch
11 | Recurrence rate of safety incidents | Repeat incidents ÷ logged events | 0% | 0% | Lower is better | On target
12 | High / critical residual risks | Risk Assessment – residual level High or Critical | 0 | 0 | Lower is better | On target
Targets (yellow) are suggested defaults – set them to your institution's approved targets.
| Items needing attention | Source | Count
| Open corrective actions | Incident Log | 0
| Overdue corrective actions | Incident Log | 0
| Equipment inspections overdue | Equipment Register | 0
| Equipment not cleared for use | Equipment Register | 0
| Emergency equipment not ready | Emergency Equipment | 1
| Training expired or expiring | Training Records | 0
| Non-compliant inspection items | Inspection Checklist | 1
| PPE items short or to replace | PPE Availability | 2
| Event type | Count
| Near miss | 1
| Injury | 0
| Electrical accident | 0
| Chemical spill | 0
| Fire | 0
| Gas leak | 0
| Equipment failure | 0
| Unsafe condition | 0
Note on C5: Defaults to today. Overwrite with a fixed date to report as of that date.

## Pre-Lab Checklist
Pre-Laboratory Safety Checklist
SOP Section 4 – complete before starting any experiment or workshop activity
Laboratory / workshop | Electrical Machines Lab
Activity / experiment | Load test on DC shunt motor
Date | 2026-10-05
Faculty / instructor | Dr. A. Rao
# | Check item | Response | Remarks / action taken
Step 3 – Safety preparation
1 | Required PPE is available | Yes
2 | Equipment is operational | Yes
3 | Emergency exits are accessible | No | First-aid kit refill requested
4 | First-aid facilities are available | Yes
5 | Fire-safety equipment is accessible | Yes
6 | Emergency contact information is displayed | Yes
7 | Required ventilation is functioning | Yes
8 | Safety instructions are available | Yes
Step 4 – Safety briefing given on
9 | Experimental / workshop procedures | Yes
10 | Equipment operation | Yes
11 | Potential hazards | Yes
12 | Required PPE | Yes
13 | Emergency shutdown | Yes
14 | Emergency reporting | Yes
15 | Evacuation arrangements | Yes
| Items answered 'Yes' | 14
| Items answered 'No' | 1
| Items not applicable | 0
| Items not yet answered | 0
| Readiness rate | 93.33%
| Decision | NOT READY – resolve all 'No' items

## Risk Assessment
Laboratory Risk Assessment Register
SOP Section 4 Step 2: Hazard → Likelihood → Impact → Risk Level → Control Measures
Ref | Activity / task | Hazard category | Hazard description | Who may be harmed | Likelihood (1-5) | Impact (1-5) | Risk score | Risk level | Control measures (engineering / administrative) | Required PPE | Residual likelihood | Residual impact | Residual score | Residual level | Owner | Review date
RA-001 | Operating DC motor test bench | Electrical systems | Contact with live terminals during wiring changes | Students, technician | 4 | 5 | 20 | Critical | Isolate supply before rewiring; shrouded terminals; RCD protection; supervised operation | Insulated gloves, safety footwear | 2 | 4 | 8 | Medium | Lab In-Charge | 2027-01-15
Scoring guide
| Score | Likelihood | Impact
| 1 | Rare | Negligible – no injury
| 2 | Unlikely | Minor – first aid
| 3 | Possible | Moderate – medical treatment
| 4 | Likely | Major – serious injury / major damage
| 5 | Almost certain | Severe – fatality / permanent disability
Risk matrix (Likelihood × Impact)
| Likelihood ↓ / Impact → | 1 | 2 | 3 | 4 | 5
| 1 | 1 | 2 | 3 | 4 | 5
| 2 | 2 | 4 | 6 | 8 | 10
| 3 | 3 | 6 | 9 | 12 | 15
| 4 | 4 | 8 | 12 | 16 | 20
| 5 | 5 | 10 | 15 | 20 | 25

## Inspection Checklist
Laboratory Safety Inspection Checklist
SOP Section 16 – periodic inspection
Laboratory / workshop | Electrical Machines Lab
Inspection date | 2026-09-28
Inspected by | Safety Officer
# | Inspection area | Status | Observations | Action required | Responsible person | Target date
1 | Emergency exits accessible | Compliant
2 | Fire equipment available/inspected | Compliant
3 | First-aid facilities available | Compliant
4 | Electrical systems safe | Compliant
5 | Equipment operational | Compliant
6 | Safety signage displayed | Compliant
7 | PPE available | Compliant | Two pairs of safety goggles missing | Replenish goggles stock | Lab Technician | 2026-10-10
8 | Chemical storage appropriate | Non-compliant
9 | Waste management satisfactory | N/A
10 | Emergency contacts updated | Compliant
11 | Safety training current | Compliant
12 | Incident records maintained | Compliant
| Compliant | 10
| Non-compliant | 1
| Not applicable | 1
| Requirements assessed | 11
| Safety Compliance Rate | 90.91%
Formula: Compliant ÷ (Compliant + Non-compliant) × 100 (SOP Section 17)

## Equipment Register
Equipment Inspection & Maintenance Register
SOP Sections 6 & 18 – Equipment defect route: STOP → Isolate → Label/Report → Restrict use → Notify In-Charge → Repair/Inspection → Authorize reuse
Asset ID | Equipment | Location | Authorized users / competency | Condition | Last inspection | Interval (days) | Next due | Days to due | Inspection status | Defect reported? | Cleared for use? | Remarks
EQ-001 | DC shunt motor test bench | Electrical Machines Lab | Trained UG students (supervised) | Good | 2026-08-20 | 90 | 2026-11-18 | 46 | Current | No | Yes | Guards and emergency stop verified
Formulas:
Next due = IF(OR([Last inspection]="",[Interval (days)]=""),"",[Last inspection]+[Interval (days)])

## Emergency Equipment
Emergency Equipment Readiness Register
SOP Section 11 – periodically inspected, tested, maintained and documented
# | Emergency equipment | Location | Last inspected / tested | Interval (days) | Next due | Functional? | Readiness status | Checked by | Remarks
1 | First-aid kit | Electrical Machines Lab | 2026-09-15 | 30 | 2026-10-15 | Yes | Ready | Lab Technician
2 | Fire-detection system | Electrical Machines Lab | 2026-09-15 | 180 | 2027-03-14 | Yes | Ready | Lab Technician
3 | Fire extinguishers | Electrical Machines Lab | 2026-09-15 | 90 | 2026-12-14 | Yes | Ready | Lab Technician
4 | Emergency alarm | Electrical Machines Lab | 2026-09-15 | 90 | 2026-12-14 | Yes | Ready | Lab Technician
5 | Emergency lighting | Electrical Machines Lab | 2026-09-15 | 90 | 2026-12-14 | Yes | Ready | Lab Technician
6 | Emergency-stop systems | Electrical Machines Lab | 2026-09-15 | 30 | 2026-10-15 | Yes | Ready | Lab Technician
7 | Spill-response materials | Electrical Machines Lab | 2026-09-15 | 90 | 2026-12-14 | Yes | Ready | Lab Technician
8 | Safety signage | Electrical Machines Lab | 2026-09-15 | 180 | 2027-03-14 | Yes | Ready | Lab Technician
9 | Emergency contact information | Electrical Machines Lab | 2026-09-15 | 90 | 2026-12-14 | Yes | Ready | Lab Technician
10 | PPE stock | Electrical Machines Lab | 2026-09-15 | 30 | 2026-10-15 | Yes | Ready | Lab Technician
11 | Eye/face protection & emergency eyewash | Electrical Machines Lab | 2026-09-15 | 30 | 2026-10-15 | No | Not ready | Lab Technician | Eyewash bottle expired – replacement ordered
12 | Ventilation and extraction systems | Electrical Machines Lab | 2026-09-15 | 180 | 2027-03-14 | Yes | Ready | Lab Technician
Formulas:
Next due = IF(OR([Last inspected / tested]="",[Interval (days)]=""),"",[Last inspected / tested]+[Interval (days)])

## PPE Availability
PPE Availability Register
SOP Section 5 – PPE selected according to identified hazards
Hazard | PPE item | Required qty | Available qty | Serviceable condition? | Availability % | Status | Remarks
Electrical work | Insulated gloves / electrical safety equipment | 10 | 10 | Yes | 100% | Adequate
Chemical handling | Protective gloves | 20 | 20 | Yes | 100% | Adequate
Chemical handling | Eye / face protection | 15 | 13 | Yes | 86.67% | Low stock
Chemical handling | Protective clothing | 15 | 15 | Yes | 100% | Adequate
Mechanical operations | Safety glasses | 30 | 28 | Yes | 93.33% | Low stock
Mechanical operations | Protective footwear | 10 | 10 | Yes | 100% | Adequate
Heat | Heat-resistant gloves | 6 | 6 | Yes | 100% | Adequate
Dust/particles | Respiratory protection | 10 | 10 | Yes | 100% | Adequate
Welding/cutting | Welding helmet / shield | 4 | 4 | Yes | 100% | Adequate
Biological hazards | Disposable gloves and face protection | 50 | 50 | Yes | 100% | Adequate
General laboratory work | Lab coat / apron | 40 | 40 | Yes | 100% | Adequate
|  |  |  | PPE availability rate | 98.1%
Note: available qty above requirement is not counted (capped at 100% per item in column F).

## Training Records
Safety Training & Competency Records
SOP Section 15 – training records shall be maintained
Name | ID / Roll no. | Role | Training module | Date completed | Validity (months) | Expiry date | Status | Trainer | Remarks
K. Priya | 22A31A0412 | Student/Researcher | General laboratory safety | 2026-07-10 | 12 | 2027-07-10 | Current | Safety Officer | Induction batch 2026
Formulas:
Expiry date = IF(OR([Date completed]="",[Validity (months)]=""),"",EDATE([Date completed],[Validity (months)]))

## Incident Log
Incident & Near-Miss Log with CAPA Tracking
SOP Section 14 – Incident → Response → Notify → Secure → Report → Root cause → CAPA → Follow-up review
Ref | Date | Type | Laboratory / location | Description | Severity | Injury? | Reported to | Immediate action taken | Root cause | Corrective / preventive action | Action owner | Due date | Closure date | Repeat incident? | CAPA status | Days to close
INC-001 | 2026-09-12 | Near miss | Electrical Machines Lab | Loose terminal found on test bench before energizing | Minor | No | Lab In-Charge | Bench isolated and tagged out | Terminal screw worn | Replace terminal block; add pre-start terminal check to bench checklist | Lab Technician | 2026-09-30 | 2026-09-25 | No | Closed | 13

## Emergency Drills
Emergency Drill Register
SOP Section 10 – Raise alarm → Evacuate → Assemble → Account for occupants → Await authorization
Planned date | Drill type | Laboratory / area | Conducted? | Date conducted | Occupants present | Occupants accounted | Accountability % | Evacuation time (min) | Drill status | Observations / improvements
2026-08-25 | Fire evacuation | Electrical Machines Lab | Yes | 2026-08-25 | 42 | 42 | 100% | 3.5 | Completed | Assembly point signage to be made more visible

## Lists
Yes / No | Yes / No / N/A | Inspection status | Hazard categories | Incident types | Severity | Roles | Training modules | Drill types | Equipment condition | Score (1-5) | Parameter | Value
Yes | Yes | Compliant | Electrical systems | Near miss | Minor | Head of Institution | General laboratory safety | Fire evacuation | Good | 1 | Low risk: score up to | 4
No | No | Non-compliant | Mechanical equipment | Injury | Moderate | Head of Department | Equipment operation | Chemical spill | Fair | 2 | Medium risk: score up to | 9
| N/A | N/A | Chemicals | Electrical accident | Major | Laboratory In-Charge | Electrical safety | Electrical accident | Damaged | 3 | High risk: score up to | 14
|  |  | Heat and fire | Chemical spill | Critical | Faculty/Instructor | Chemical safety | Gas leak | Out of service | 4 | (Above High = Critical, max 25)
|  |  | Pressure systems | Fire |  | Laboratory Technician | Fire safety | Injury / first aid |  | 5 | Inspection 'due soon' window (days) | 14
|  |  | Sharp tools | Gas leak |  | Safety Officer/Committee | Emergency response |  |  |  | Training 'expiring' window (days) | 30
|  |  | Moving machinery | Equipment failure |  | Student/Researcher | PPE
|  |  | Radiation / lasers | Unsafe condition |  | Visitor/Contractor | Waste management |  |  |  | Yellow cells are editable. Thresholds follow a standard 5x5 likelihood x impact matrix; adjust to your institution's risk policy.
|  |  | Biological materials |  |  |  | Incident reporting
|  |  | Compressed gases |  |  |  | Specialized equipment hazards
Electronic equipment
High-voltage equipment